## Slide 1
Figure 2
At the moment, Ceph is difficult to install, configure and administer. Additionally, Ceph did not provide the stability required for a production environment. The support of, and performance with, erasure coded pools in Ceph is on the right track toward a performant, scalable, and resilient exabyte level filesystem. As of now, the use of Ceph as an object storage solution is not advised without further research.
Conclusions
Figure 3
Figure 1
What is Ceph?
Ceph is an open source object store and filesystem that is designed to be scalable to the exabyte level. Ceph also provides higher resilience and scalability via erasure coding techniques. It uses pools and placement groups in order to specify where and how data is stored. A pool is a logical volume for grouping placement groups. Placement groups are used to collect objects since it is resource intensive to track individual object metadata and placement.
Jerasure : Erasure coding library written in C
Isa: Erasure coding library developed by Intel in assembly language
During benchmarking hard drive failure occurred, and the object store was unable to recover on its own or with manual intervention. As a result, the data was lost during reconfiguration. Shutting the object store down improperly also resulted in data loss. Once the failed drives had been removed from the cluster the object store performed well.
Results
Test Environment
Ten HP ProLiant nodes compose the Ceph object store in Figure 4. The proxy nodes are running a RADOS gateway and apache server providing clients with a HTTP interface to the object store. Object storage devices (OSDs) are connected to 135 hard drives formatted as EXT4. Each of the drives are capable of read and write speeds around 100 megabytes per second. The object store has a capacity of 540 terabytes.
Future Work
Determine bottleneck of performance testing
Further investigate pool configurations
Explore Ceph monitoring solutions
Compare ZFS with BTRFS and XFS with EXT4
Investigate the performance and implementation of the Ceph block device
Figure 4
Purpose: To test the performance and viability of Ceph as an object storage solution.
LA-UR-15-25906